## Slide 1: 2-Pillar Wall Mounted Pergola Retractable Pergola Installation Manual

## Slide 2
Remote Control |  |  | #1 |  |  | #4-1 |  |  | #6 |  |  | Pillar Foot Cover | 
 |  |  |  |  |  | #4-2 |  |  |  |  |  |  | 
Hand Screw Tools |  |  | #2 |  |  |  |  |  | #7 |  |  | #9 | for wall mount and capping
 |  |  |  |  |  | #4-3 |  |  |  |  |  |  | 
LED Light Controller |  |  | #3 |  |  | #5 |  |  | Chain wire |  |  | #10 | 
Aluminium Block |  |  | #4 |  |  | #5-1 |  |  | #8 | for pillar foot |  | SCREW TABLE | 

## Slide 3
The main post (pillar) have been installed at the factory.
Firstly , position where are the motor side and place to two pillars in the right direction.
1. Pillar Position .
Pillar A
Pillar B
# 4 screw
On the job site, it only needs to be laid down on floor and secured with all beams.
Motor

## Slide 4
Pre-drilled holes have been provided for fastening.
Please secure the beam against the wall with screws,
then finish it with plastic screw caps.
#9 for wall mount bolt and capping
2. Installation of Wall-Mounted Beam.

## Slide 5
3. Screw fixed the beam and pillars by using #4-1, #4-2, #4-3 screws.
Only two parts here (close to the motor beam)
are used #4-3 srews.
The upper two holes are used #4-2 screws.
The 3rd holes are used #4-1 screws.
Pillar A
Motor
Pillar B

## Slide 6
4. -1,Load Water Gutter (sink).
Insert the square nuts into the frame slot before installing the frame.
10# screw nuts

## Slide 7
4.-2, Load Water Gutter (sink).
Insert the sink baffle.
(the baffles at different positions are labeled with letters)
Then secure it with one #10 screw.

## Slide 8
4.-3, Load Water Gutter (sink).
Load water gutter (the Sink) along four beams.

## Slide 9
5. Load 1st Blade on top.
The 1st blade is labeled with marking.
Load the 1st blade from this gap, and slide to motor side.
Then load the 2nd,3rd blade......until the 2nd-to last.
Step ①
Step ②
Note!
Make sure you find out the 1st blade .
It is different from other Blades.
1st blade
other blades

## Slide 10
6. Use the 6# screw to tightly fix the rail together.
Check!
Every blades on two side has rollers. Make usre it goes into the U-groove.
6# screw here.

## Slide 11
Put 2# screw first，then load the second-to-last blade .
7. Install 2# screw, before you load the 2nd-to-last blade.
2nd-to-last blade

## Slide 12
8. Load the last Blades.
U-groove
the last blade
Only the last blade roller head is above the U-groove.

## Slide 13
9.Link the Rail Chain by #7 Screws and steel wire ring .
*Please ensure that all steel rings are facing the beam to prevent any jamming.
# 7 screw
Chain wire
Beam
Blade
√
×

## Slide 14
10. Assembling the LED Light
Step ① The LED light strip has been pre-installed. Simply connect the male and female connectors to form a square shape.
Step ② One of the ports must be connected to the controller using the corresponding male or female connector.
Note:
The control box is waterproof and low-voltage.
After connecting the power, straighten the cables and place the box inside the sink frame.
Once the wires are straightened, they are normally routed through the pillar to the inverter and power supply.
Please connect and power it according to the actual on-site conditions.
Male connector
Female connector
Step ③ Connect motor with Control Box.

## Slide 15
1# screws
3# screws
11. After installing all the blades, use 1#, 3# screws fixing.
Use #1， #3 to screws fix the
beam cover on top.

## Slide 16
Load two pieces aluminium block at opposite side of the motor ,by using one 5# screws and fix it.
12. Screw fix the block on top of the beam.
#5
Step ①
Lock up the motor parts here on two ends.
Step ②
then use #5-1 to screws fix the
2nd beam cover (with brush strip).
#5-1
Put the motor cover on top.
Step ④
Step ③
Motor
Motor
aluminium block

## Slide 17
Pillar Cover: The cover is a combination of two halves that are interlocked and fastened onto the column.
13. Pillar Foot Cover.
Pillar A
Pillar B
Motor
150X150mm
#8 pillar screw
pillar foot cover

## Slide 18
14. Power Supply: Link the power line from the indoor power supply to the pergola.
Motor with Line goes throught the pillar down to the floor (or from the beam).
There is a gap on the pillar bottom(or beam corner) ,allowing the line goes through.
We will provide an inverter.
Usually put inside the room and with socket.
Then goes through to the room connected with inverter (we provide),
then with a plug.
24V safety Motor
control box
Motor and control box
Motor: 24V
LED Lights: 12V

## Slide 19
This motor does not require any debugging or testing before operation.
*Pay attention to the operation of the blade running when first time powered on.
If there is any obstruction, immediately turn off the power and check if any objects are stuck in the blades or U-groove.
Please note that when initially powered on, the motor will automatically move the blades back and forth once as its self-learning. During this process, do not press the remote control; it must complete one full way of automatic operation. After that, you use with remote control freely.
Contact us at any time and we are ready to help.
Ready Now! Precautions for the first power-on.